BASIC REQUIERED DOCUMENTS

For new installations or modifications to existing ones, on privately owned or leased property.

- Application by the legal representative.  (Find the application form on the Management website www.deppathe.gr)

- Copy of the file evaluation fee deposit of €2,400 plus VAT, to account no. GR8802600250000410201213778 with the reason: Connection application <company name>.

- In the case of an application for connection to KMEDA, a copy of the deposit of a one-off connection fee of €XXX plus VAT (the amount of the fee is calculated on the basis of the Regulations) to account no. GR8802600250000410201213778 with the reason: Application for connection of <company name> to KMEDA. (It is necessary to contact Management to determine the fee.)

- Up-to-date Company Registry Data with KAD Business Activity Codes

- «GEMI» Certificate

- Details of the company's legal representatives/managers

SUPPORTING DOCUMENTS

- Topographic diagram

- Technical Report describing, indicatively and not restrictively, as applicable: the type, size, and technical characteristics of the facility, the required water consumption supply, the supply and quality characteristics of the wastewater, any pre-treatment, and the method of disposal.

- Mechanical Water Supply/Sewerage Plan

- Standard Environmental Commitments (SEC) or Environmental Terms Approval Decision (ETAD) and/or any amendments

Notes:

The above are the basic documents required for the completeness of the file.

Additional information/documents may be required depending on the case.

It is recommended that you contact DEPPATHE for information on the required documents and procedures.

Contact details:

Tel. 2310 715880 / EMAIL: info@deppathe.gr